## Series Measurement
Workbook name | C:\Usuarios DLS CICAT\Profesor Rogelio-Manizales\Daniel Triana\Daniel Triana.apkw
Measurement name | GONPs_punta_15_20200306
Measurement mode | Particle Size Series
Comment | Marzo 6 Nanoparticulas de GO preparadas por dispersión en agua tipo 1, usando una punta ultrasónica a 490 J, 40% de amplitud, por 30 min 20 s on y 20 s off. m_GO = 0.24 g V_H2O = 80 mL |  |  | Result
[5 empty] | Name | Status | Temperature | Measurement position | Processed runs | Polydispersity index | Hydrodynamic radius | Peak 1 (intensity) | Peak 2 (intensity) | Peak 3 (intensity)
Input parameters | General | [5 empty] | °C | [mm] |  |  | nm | nm | nm | nm
| Measurement cell | Disposable |  |  | GONPs_punta_15_20200306 1 | Succeeded | 25 | 0 | 6 | 483499.4842 | -8530.371 | 424.6614
| Measurement angle | ForwardScatter |  |  | GONPs_punta_15_20200306 2 | Canceled | 25 | 0 | 1 | 58049152.1637 | 135613.7912 | 571.3155
| Target temperature | 25 | °C
| Equilibration time | 0:01 | hh:mm:ss
| Analysis model | General
| Cumulant model | Advanced
Quality
| Mode | Automatic
| Optical density | 0
Focus
| Mode | Automatic
| Position | 0
Material
| Name | AuNPs
| Refractive index | 1.43
| Absorbance | 0
Solvent
| Name | Water
| Refractive index | 1.3303
| Viscosity | 0.00089031 | Pa.s
Series Configuration
| Type | Repetition
Parameter values
| 0:00 | hh:mm:ss
| 0:00 | hh:mm:ss
| 0:00 | hh:mm:ss
Additional information | Measurement start
| User | Auxiliar Adm. CICAT
| Time | 2020-03-06 14:01
| Software version | 2.8.3
| Computer name | DESKTOP-AC97N43
Instrument
| Serial number | 82817381
Module
| Serial number | 82804381

## Measurement 1
Workbook name | C:\Usuarios DLS CICAT\Profesor Rogelio-Manizales\Daniel Triana\Daniel Triana.apkw
Measurement name | GONPs_punta_15_20200306 1
Measurement mode | Particle size
Comment | [6 empty] | Size distribution function |  |  |  |  | Correlation function |  | Intensity trace
|  |  |  | Particle diameter | Relative frequency | Relative frequency | Relative frequency | Undersize | Undersize | Undersize |  |  | Cumulant fit
Results | Hydrodynamic diameter | -8530.371 | nm |  | Intensity weighted | Volume weighted | Number weighted | Intensity weighted | Volume weighted | Number weighted | Delay time | g2 | Advanced | Time | Intensity
| Polydispersity index | 483499.4842 | % | [nm] | [%] | [%] | [%] | [%] | [%] | [%] | [s] |  |  | [s] | [kcps]
| Peak intensity 1 | 424.6614 | nm | 0.20947 | 0 | 0 | 0 | 0 | 0 | 0 | 2e-07 | 4.0101 |  | 0.1 | 25.43
| Peak intensity 2 |  | nm | 0.22715 | 0 | 0 | 0 | 0 | 0 | 0 | 2.2e-07 | 4.0136 |  | 0.2 | 25.79
| Peak intensity 3 |  | nm | 0.24631 | 0 | 0 | 0 | 0 | 0 | 0 | 2.4e-07 | 4.0086 |  | 0.3 | 58.94
| Peak volume 1 | 377.7437 | nm | 0.26709 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6e-07 | 4.0144 |  | 0.4 | 41.2
| Peak volume 2 |  | nm | 0.28962 | 0 | 0 | 0 | 0 | 0 | 0 | 2.8e-07 | 4.0099 |  | 0.5 | 187.74
| Peak volume 3 |  | nm | 0.31406 | 0 | 0 | 0 | 0 | 0 | 0 | 3e-07 | 4.011 |  | 0.6 | 478.02
| Peak number 1 | 343.6449 | nm | 0.34055 | 0 | 0 | 0 | 0 | 0 | 0 | 3.2e-07 | 4.0061 |  | 0.7 | 586.33
| Peak number 2 |  | nm | 0.36928 | 0 | 0 | 0 | 0 | 0 | 0 | 3.6e-07 | 4.0053 |  | 0.8 | 510.54
| Peak number 3 |  | nm | 0.40044 | 0 | 0 | 0 | 0 | 0 | 0 | 4e-07 | 4.0042 | 4.0054 | 0.9 | 170.25
| D10 volume | 284.4141 | nm | 0.43422 | 0 | 0 | 0 | 0 | 0 | 0 | 4.4e-07 | 4.0109 | 4.0054 | 1 | 694.73
| D50 volume | 346.4775 | nm | 0.47086 | 0 | 0 | 0 | 0 | 0 | 0 | 4.8e-07 | 4.0076 | 4.0054 | 1.1 | 152.06
| D90 volume | 468.6978 | nm | 0.51058 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2e-07 | 4.0027 | 4.0054 | 1.2 | 103.43
| D10 intensity | 301.8684 | nm | 0.55366 | 0 | 0 | 0 | 0 | 0 | 0 | 5.6e-07 | 4.0063 | 4.0054 | 1.3 | 151.45
| D50 intensity | 395.6793 | nm | 0.60037 | 0 | 0 | 0 | 0 | 0 | 0 | 6e-07 | 4.0058 | 4.0054 | 1.4 | 705.4
| D90 intensity | 535.3317 | nm | 0.65102 | 0 | 0 | 0 | 0 | 0 | 0 | 6.4e-07 | 4.0088 | 4.0054 | 1.5 | 387.68
| D10 number | 160.2503 | nm | 0.70594 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2e-07 | 4.0085 | 4.0054 | 1.6 | 5149.97
| D50 number | 316.7159 | nm | 0.7655 | 0 | 0 | 0 | 0 | 0 | 0 | 8e-07 | 4.0073 | 4.0054 | 1.7 | 1583.53
| D90 number | 405.877 | nm | 0.83008 | 0 | 0 | 0 | 0 | 0 | 0 | 8.8e-07 | 4.0038 | 4.0054 | 1.8 | 4935.19
| Undersize span volume (D90-D10)/D50 | 0.53188 |  | 0.90011 | 0 | 0 | 0 | 0 | 0 | 0 | 9.6e-07 | 4.0081 | 4.0054 | 1.9 | 330.15
| Undersize span intensity (D90-D10)/D50 | 0.59003 |  | 0.97605 | 0 | 0 | 0 | 0 | 0 | 0 | 1.04e-06 | 4.0077 | 4.0054 | 2 | 317.96
| Undersize span number (D90-D10)/D50 | 0.77554 |  | 1.0584 | 0 | 0 | 0 | 0 | 0 | 0 | 1.12e-06 | 4.0089 | 4.0054 | 2.1 | 179.4
| Processed runs | 6 |  | 1.1477 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2e-06 | 4.009 | 4.0054 | 2.2 | 199.2
| Intercept (g2-1) | 0.89936 |  | 1.2445 | 0 | 0 | 0 | 0 | 0 | 0 | 1.28e-06 | 4.0081 | 4.0054 | 2.3 | 70.28
| Baseline | 3.106 |  | 1.3495 | 0 | 0 | 0 | 0 | 0 | 0 | 1.44e-06 | 4.006 | 4.0054 | 2.4 | 71.84
| Mean intensity | 529.3509 | kcps | 1.4634 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6e-06 | 4.0105 | 4.0054 | 2.5 | 24.18
| Fit error | 0.0079843 |  | 1.5868 | 0 | 0 | 0 | 0 | 0 | 0 | 1.76e-06 | 4.0071 | 4.0054 | 2.6 | 47.19
| Diffusion coefficient | -0.057509 | µm²/s | 1.7207 | 0 | 0 | 0 | 0 | 0 | 0 | 1.92e-06 | 4.0045 | 4.0054 | 2.7 | 33.32
| D10 Volume | 284.4141 | nm | 1.8659 | 0 | 0 | 0 | 0 | 0 | 0 | 2.08e-06 | 4.0039 | 4.0054 | 2.8 | 107.69
| D50 Volume | 346.4775 | nm | 2.0233 | 0 | 0 | 0 | 0 | 0 | 0 | 2.24e-06 | 4.007 | 4.0054 | 2.9 | 103.17
| D90 Volume | 468.6978 | nm | 2.194 | 0 | 0 | 0 | 0 | 0 | 0 | 2.4e-06 | 4.0057 | 4.0054 | 3 | 307.59
| D10 Intensity | 301.8684 | nm | 2.3791 | 0 | 0 | 0 | 0 | 0 | 0 | 2.56e-06 | 4.0065 | 4.0054 | 3.1 | 1446.24
| D50 Intensity | 395.6793 | nm | 2.5798 | 0 | 0 | 0 | 0 | 0 | 0 | 2.88e-06 | 4.007 | 4.0054 | 3.2 | 943.59
| D90 Intensity | 535.3317 | nm | 2.7974 | 0 | 0 | 0 | 0 | 0 | 0 | 3.2e-06 | 4.0087 | 4.0054 | 3.3 | 215.62
| D10 Number | 160.2503 | nm | 3.0334 | 0 | 0 | 0 | 0 | 0 | 0 | 3.52e-06 | 4.0065 | 4.0054 | 3.4 | 1889.77
| D50 Number | 316.7159 | nm | 3.2894 | 0 | 0 | 0 | 0 | 0 | 0 | 3.84e-06 | 4.0084 | 4.0054 | 3.5 | 5173.07
| D90 Number | 405.877 | nm | 3.5669 | 0 | 0 | 0 | 0 | 0 | 0 | 4.16e-06 | 4.0067 | 4.0054 | 3.6 | 468.14
|  |  |  | 3.8678 | 0 | 0 | 0 | 0 | 0 | 0 | 4.48e-06 | 4.0062 | 4.0054 | 3.7 | 979.36
Automatic values | Filter optical density | 2.0752 |  | 4.1941 | 0 | 0 | 0 | 0 | 0 | 0 | 4.8e-06 | 4.0068 | 4.0054 | 3.8 | 57.79
| Focus position | -0.0049996 | mm | 4.5479 | 0 | 0 | 0 | 0 | 0 | 0 | 5.12e-06 | 4.0064 | 4.0054 | 3.9 | 207.57
| Auto run criteria | 375.2301 | % | 4.9316 | 0 | 0 | 0 | 0 | 0 | 0 | 5.76e-06 | 4.0067 | 4.0054 | 4 | 231.8
| Transmittance | 83.4791 | % | 5.3477 | 0 | 0 | 0 | 0 | 0 | 0 | 6.4e-06 | 4.0061 | 4.0054 | 4.1 | 99.31
| Angle used | ForwardScatter |  | 5.7988 | 0 | 0 | 0 | 0 | 0 | 0 | 7.04e-06 | 4.007 | 4.0054 | 4.2 | 58.32
|  |  |  | 6.2881 | 0 | 0 | 0 | 0 | 0 | 0 | 7.68e-06 | 4.0078 | 4.0054 | 4.3 | 95.48
Input parameters | General |  |  | 6.8186 | 0 | 0 | 0 | 0 | 0 | 0 | 8.32e-06 | 4.0071 | 4.0054 | 4.4 | 164.93
| Measurement cell | Disposable |  | 7.3938 | 0 | 0 | 0 | 0 | 0 | 0 | 8.96e-06 | 4.0076 | 4.0054 | 4.5 | 102.69
| Measurement angle | ForwardScatter |  | 8.0176 | 0 | 0 | 0 | 0 | 0 | 0 | 9.6e-06 | 4.0077 | 4.0054 | 4.6 | 102.92
| Target temperature | 25 | °C | 8.694 | 0 | 0 | 0 | 0 | 0 | 0 | 1.024e-05 | 4.0067 | 4.0054 | 4.7 | 819.43
| Equilibration time | 0:00 | hh:mm:ss | 9.4275 | 0 | 0 | 0 | 0 | 0 | 0 | 1.152e-05 | 4.0076 | 4.0054 | 4.8 | 243.26
| Analysis model | General |  | 10.2229 | 0 | 0 | 0 | 0 | 0 | 0 | 1.28e-05 | 4.0074 | 4.0054 | 4.9 | 627.89
| Cumulant model | Advanced |  | 11.0853 | 0 | 0 | 0 | 0 | 0 | 0 | 1.408e-05 | 4.0072 | 4.0054 | 5 | 747.32
|  |  |  | 12.0206 | 0 | 0 | 0 | 0 | 0 | 0 | 1.536e-05 | 4.0065 | 4.0054 | 5.1 | 69.38
| Quality |  |  | 13.0347 | 0 | 0 | 0 | 0 | 0 | 0 | 1.664e-05 | 4.0075 | 4.0054 | 5.2 | 702.01
| Mode | Automatic |  | 14.1344 | 0 | 0 | 0 | 0 | 0 | 0 | 1.792e-05 | 4.0074 | 4.0054 | 5.3 | 1230.53
| Max. number of runs | 60 |  | 15.3268 | 0 | 0 | 0 | 0 | 0 | 0 | 1.92e-05 | 4.0068 | 4.0054 | 5.4 | 887.34
| Measurement time | 0:00 | hh:mm:ss | 16.6199 | 0 | 0 | 0 | 0 | 0 | 0 | 2.048e-05 | 4.0065 | 4.0054 | 5.5 | 672.47
|  |  |  | 18.022 | 0 | 0 | 0 | 0 | 0 | 0 | 2.304e-05 | 4.0072 | 4.0054 | 5.6 | 112.98
| Filter |  |  | 19.5425 | 0 | 0 | 0 | 0 | 0 | 0 | 2.56e-05 | 4.0069 | 4.0054 | 5.7 | 58.57
| Mode | Automatic |  | 21.1912 | 0 | 0 | 0 | 0 | 0 | 0 | 2.816e-05 | 4.0069 | 4.0054 | 5.8 | 7.04
| Optical density | 0 | mm | 22.979 | 0 | 0 | 0 | 0 | 0 | 0 | 3.072e-05 | 4.0067 | 4.0054 | 5.9 | 59.41
|  |  |  | 24.9177 | 0 | 0 | 0 | 0 | 0 | 0 | 3.328e-05 | 4.0073 | 4.0054 | 6 | 511.8
| Focus |  |  | 27.0199 | 0 | 0 | 0 | 0 | 0 | 0 | 3.584e-05 | 4.0076 | 4.0054 | 6.1 | 92.92
| Mode | Automatic |  | 29.2994 | 0 | 0 | 0 | 0 | 0 | 0 | 3.84e-05 | 4.0072 | 4.0054 | 6.2 | 240.4
| Position | 0 | mm | 31.7713 | 0 | 0 | 0 | 0 | 0 | 0 | 4.096e-05 | 4.007 | 4.0054 | 6.3 | 188.3
|  |  |  | 34.4517 | 0 | 0 | 0 | 0 | 0 | 0 | 4.608e-05 | 4.0071 | 4.0054 | 6.4 | 53.24
| Material |  |  | 37.3583 | 0 | 0 | 0 | 0 | 0 | 0 | 5.12e-05 | 4.0073 | 4.0055 | 6.5 | 252.23
| Name | AuNPs |  | 40.51 | 0 | 0 | 0 | 0 | 0 | 0 | 5.632e-05 | 4.0072 | 4.0055 | 6.6 | 40.4
| Refractive index | 1.43 |  | 43.9277 | 0 | 0 | 0 | 0 | 0 | 0 | 6.144e-05 | 4.0068 | 4.0055 | 6.7 | 47.28
| Absorption | 0 |  | 47.6337 | 0 | 0 | 0 | 0 | 0 | 0 | 6.656e-05 | 4.0071 | 4.0055 | 6.8 | 72.19
|  |  |  | 51.6524 | 0 | 0 | 0 | 0 | 0 | 0 | 7.168e-05 | 4.0067 | 4.0055 | 6.9 | 206.46
| Solvent |  |  | 56.0101 | 0 | 0 | 0 | 0 | 0 | 0 | 7.68e-05 | 4.007 | 4.0055 | 7 | 173.58
| Name | Water |  | 60.7354 | 0 | 0 | 0 | 0 | 0 | 0 | 8.192e-05 | 4.0068 | 4.0055 | 7.1 | 931.21
| Refractive index | 1.3303 |  | 65.8594 | 0 | 0 | 0 | 0 | 0 | 0 | 9.216e-05 | 4.0069 | 4.0055 | 7.2 | 432.14
| Viscosity | 0.00089031 | Pa.s | 71.4157 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0001024 | 4.0068 | 4.0055 | 7.3 | 167.76
|  |  |  | 77.4408 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00011264 | 4.0066 | 4.0055 | 7.4 | 223.2
Additional information | Measurement start |  |  | 83.9741 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00012288 | 4.0067 | 4.0055 | 7.5 | 243.86
| User | Auxiliar Adm. CICAT |  | 91.0587 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00013312 | 4.0071 | 4.0055 | 7.6 | 153.5
| Time | 2020-03-06 14:01 |  | 98.741 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00014336 | 4.007 | 4.0056 | 7.7 | 929.16
| Software version | 2.8.3 |  | 107.0713 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0001536 | 4.0064 | 4.0056 | 7.8 | 1299.36
| Computer name | DESKTOP-AC97N43 |  | 116.1045 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00016384 | 4.0066 | 4.0056 | 7.9 | 362.07
|  |  |  | 125.8998 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00018432 | 4.0064 | 4.0056 | 8 | 1323.41
| Instrument |  |  | 136.5214 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0002048 | 4.0066 | 4.0056 | 8.1 | 86.73
| Type | Litesizer 500 |  | 148.0392 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00022528 | 4.0064 | 4.0057 | 8.2 | 228.4
| Serial number | 82817381 |  | 160.5287 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00024576 | 4.0065 | 4.0057 | 8.3 | 278.34
|  |  |  | 174.0718 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00026624 | 4.0063 | 4.0057 | 8.4 | 243.08
| Module |  |  | 188.7576 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00028672 | 4.0063 | 4.0057 | 8.5 | 2273.74
| Type | FM10 |  | 204.6823 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0003072 | 4.006 | 4.0057 | 8.6 | 2166.99
| Serial number | 82804381 |  | 221.9505 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00032768 | 4.006 | 4.0058 | 8.7 | 256.35
|  |  |  | 240.6756 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00036864 | 4.0059 | 4.0058 | 8.8 | 86.96
|  |  |  | 260.9804 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0004096 | 4.0058 | 4.0059 | 8.9 | 909.43
|  |  |  | 282.9983 | 3.6322 | 9.0529 | 17.6698 | 3.6322 | 9.0529 | 17.6698 | 0.00045056 | 4.0054 | 4.0059 | 9 | 880.11
|  |  |  | 306.8737 | 8.0568 | 15.9706 | 24.4475 | 11.689 | 25.0235 | 42.1173 | 0.00049152 | 4.0055 | 4.006 | 9.1 | 92.73
|  |  |  | 332.7634 | 10.9485 | 17.2711 | 20.7351 | 22.6376 | 42.2946 | 62.8524 | 0.00053248 | 4.0052 | 4.006 | 9.2 | 55.5
|  |  |  | 360.8373 | 12.5572 | 15.7736 | 14.8522 | 35.1948 | 58.0682 | 77.7046 | 0.00057344 | 4.005 | 4.006 | 9.3 | 83.51
|  |  |  | 391.2797 | 13.1024 | 13.114 | 9.6843 | 48.2972 | 71.1822 | 87.3889 | 0.0006144 | 4.005 | 4.0061 | 9.4 | 330.44
|  |  |  | 424.2904 | 12.7761 | 10.1954 | 5.9049 | 61.0734 | 81.3776 | 93.2937 | 0.00065536 | 4.0048 | 4.0061 | 9.5 | 1498.8
|  |  |  | 460.086 | 11.7449 | 7.4775 | 3.3965 | 72.8182 | 88.8551 | 96.6902 | 0.00073728 | 4.0041 | 4.0062 | 9.6 | 54.43
|  |  |  | 498.9016 | 10.1523 | 5.1601 | 1.8383 | 82.9705 | 94.0153 | 98.5285 | 0.0008192 | 4.0038 | 4.0063 | 9.7 | 66.49
|  |  |  | 540.9919 | 8.1217 | 3.2978 | 0.92139 | 91.0922 | 97.3131 | 99.4499 | 0.00090112 | 4.0035 | 4.0064 | 9.8 | 50.02
|  |  |  | 586.6333 | 5.7579 | 1.869 | 0.40955 | 96.8501 | 99.1821 | 99.8594 | 0.00098304 | 4.0029 | 4.0065 | 9.9 | 839
|  |  |  | 636.1251 | 3.1499 | 0.81792 | 0.14056 | 100 | 100 | 100 | 0.001065 | 4.0024 | 4.0066 | 10 | 178.29
|  |  |  | 689.7925 | 0 | 0 | 0 | 100 | 100 | 100 | 0.0011469 | 4.0018 | 4.0067 | 10.1 | 111.24
|  |  |  | 747.9875 | 0 | 0 | 0 | 100 | 100 | 100 | 0.0012288 | 4.0014 | 4.0068 | 10.2 | 1364.59
|  |  |  | 811.0921 | 0 | 0 | 0 | 100 | 100 | 100 | 0.0013107 | 4.0008 | 4.0069 | 10.3 | 1443.42
|  |  |  | 879.5207 | 0 | 0 | 0 | 100 | 100 | 100 | 0.0014746 | 3.9996 | 4.0071 | 10.4 | 320.72
|  |  |  | 953.7223 | 0 | 0 | 0 | 100 | 100 | 100 | 0.0016384 | 3.9984 | 4.0073 | 10.5 | 552.79
|  |  |  | 1034.184 | 0 | 0 | 0 | 100 | 100 | 100 | 0.0018022 | 3.9971 | 4.0075 | 10.6 | 23.66
|  |  |  | 1121.434 | 0 | 0 | 0 | 100 | 100 | 100 | 0.0019661 | 3.9958 | 4.0076 | 10.7 | 113.74
|  |  |  | 1216.0449 | 0 | 0 | 0 | 100 | 100 | 100 | 0.0021299 | 3.9943 | 4.0078 | 10.8 | 170.91
|  |  |  | 1318.6377 | 0 | 0 | 0 | 100 | 100 | 100 | 0.0022938 | 3.9927 | 4.008 | 10.9 | 266.51
|  |  |  | 1429.8858 | 0 | 0 | 0 | 100 | 100 | 100 | 0.0024576 | 3.9911 | 4.0082 | 11 | 2275.69
|  |  |  | 1550.5195 | 0 | 0 | 0 | 100 | 100 | 100 | 0.0026214 | 3.9895 | 4.0084 | 11.1 | 1097.94
|  |  |  | 1681.3306 | 0 | 0 | 0 | 100 | 100 | 100 | 0.0029491 | 3.9859 | 4.0088 | 11.2 | 1691.99
|  |  |  | 1823.1777 | 0 | 0 | 0 | 100 | 100 | 100 | 0.0032768 | 3.982 | 4.0091 | 11.3 | 247.55
|  |  |  | 1976.9918 | 0 | 0 | 0 | 100 | 100 | 100 | 0.0036045 | 3.9778 | 4.0095 | 11.4 | 175.32
|  |  |  | 2143.7826 | 0 | 0 | 0 | 100 | 100 | 100 | 0.0039322 | 3.9735 | 4.0099 | 11.5 | 1088.67
|  |  |  | 2324.6449 | 0 | 0 | 0 | 100 | 100 | 100 | 0.0042598 | 3.9689 | 4.0103 | 11.6 | 400.25
|  |  |  | 2520.7659 | 0 | 0 | 0 | 100 | 100 | 100 | 0.0045875 | 3.9639 | 4.0106 | 11.7 | 3221.57
|  |  |  | 2733.4327 | 0 | 0 | 0 | 100 | 100 | 100 | 0.0049152 | 3.9588 | 4.011 | 11.8 | 1519.07
|  |  |  | 2964.0414 | 0 | 0 | 0 | 100 | 100 | 100 | 0.0052429 | 3.9536 | 4.0114 | 11.9 | 77.64
|  |  |  | 3214.1056 | 0 | 0 | 0 | 100 | 100 | 100 | 0.0058982 | 3.9422 | 4.0122 | 12 | 40.43
|  |  |  | 3485.2668 | 0 | 0 | 0 | 100 | 100 | 100 | 0.0065536 | 3.9302 | 4.0129 | 12.1 | 261.18
|  |  |  | 3779.3047 | 0 | 0 | 0 | 100 | 100 | 100 | 0.007209 | 3.9172 | 4.0137 | 12.2 | 46.6
|  |  |  | 4098.1494 | 0 | 0 | 0 | 100 | 100 | 100 | 0.0078643 | 3.9036 | 4.0144 | 12.3 | 87.64
|  |  |  | 4443.8937 | 0 | 0 | 0 | 100 | 100 | 100 | 0.0085197 | 3.8893 | 4.0152 | 12.4 | 66.92
|  |  |  | 4818.8071 | 0 | 0 | 0 | 100 | 100 | 100 | 0.009175 | 3.874 | 4.0159 | 12.5 | 243.97
|  |  |  | 5225.3505 | 0 | 0 | 0 | 100 | 100 | 100 | 0.0098304 | 3.8581 | 4.0167 | 12.6 | 1379.18
|  |  |  | 5666.1922 | 0 | 0 | 0 | 100 | 100 | 100 | 0.010486 | 3.8414 | 4.0174 | 12.7 | 1221.62
|  |  |  | 6144.226 | 0 | 0 | 0 | 100 | 100 | 100 | 0.011796 | 3.8067 | 4.019 | 12.8 | 265.76
|  |  |  | 6662.5896 | 0 | 0 | 0 | 100 | 100 | 100 | 0.013107 | 3.7698 | 4.0205 | 12.9 | 915.19
|  |  |  | 7224.6854 | 0 | 0 | 0 | 100 | 100 | 100 | 0.014418 | 3.7308 | 4.022 | 13 | 904.41
|  |  |  | 7834.203 | 0 | 0 | 0 | 100 | 100 | 100 | 0.015729 | 3.6897 | 4.0235 | 13.1 | 98.04
|  |  |  | 8495.1431 | 0 | 0 | 0 | 100 | 100 | 100 | 0.017039 | 3.6468 | 4.0251 | 13.2 | 51.83
|  |  |  | 9211.8441 | 0 | 0 | 0 | 100 | 100 | 100 | 0.01835 | 3.6022 | 4.0266 | 13.3 | 283.28
|  |  |  | 9989.0102 | 0 | 0 | 0 | 100 | 100 | 100 | 0.019661 | 3.5562 | 4.0281 | 13.4 | 1574.62
|  |  |  | 10831.7428 | 0 | 0 | 0 | 100 | 100 | 100 | 0.020972 | 3.5091 | 4.0297 | 13.5 | 574.86
|  |  |  | 11745.5732 | 0 | 0 | 0 | 100 | 100 | 100 | 0.023593 | 3.4118 | 4.0327 | 13.6 | 51.62
|  |  |  | 12736.4999 | 0 | 0 | 0 | 100 | 100 | 100 | 0.026214 | 3.3112 | 4.0358 | 13.7 | 31.16
|  |  |  | 13811.027 | 0 | 0 | 0 | 100 | 100 | 100 | 0.028836 | 3.2092 |  | 13.8 | 47.81
|  |  |  | 14976.2077 | 0 | 0 | 0 | 100 | 100 | 100 | 0.031457 | 3.106 |  | 13.9 | 287.25
|  |  |  | 16239.69 | 0 | 0 | 0 | 100 | 100 | 100 | 0.034079 | 3.0024 |  | 14 | 455.86
|  |  |  | 17609.7672 | 0 | 0 | 0 | 100 | 100 | 100 | 0.0367 | 2.8993 |  | 14.1 | 45.22
|  |  |  | 19095.4322 | 0 | 0 | 0 | 100 | 100 | 100 | 0.039322 | 2.7972 |  | 14.2 | 636.39
[11 empty] | 0.041943 | 2.6967 |  | 14.3 | 1090.33
[11 empty] | 0.047186 | 2.5002 |  | 14.4 | 236.92
[11 empty] | 0.052429 | 2.3134 |  | 14.5 | 111.98
[11 empty] | 0.057672 | 2.1374 |  | 14.6 | 70.36
[11 empty] | 0.062915 | 1.9738 |  | 14.7 | 306.07
[11 empty] | 0.068157 | 1.8233 |  | 14.8 | 186.13
[11 empty] | 0.0734 | 1.6851 |  | 14.9 | 3694.95
[11 empty] | 0.078643 | 1.5613 |  | 15 | 2145.4
[11 empty] | 0.083886 | 1.4584 |  | 15.1 | 487.24
[11 empty] | 0.094372 | 1.2934 |  | 15.2 | 950.48
[11 empty] | 0.10486 | 1.1932 |  | 15.3 | 3290.53
[11 empty] | 0.11534 | 1.1465 |  | 15.4 | 888.88
[11 empty] | 0.12583 | 1.1411 |  | 15.5 | 749.34
[11 empty] | 0.13631 | 1.1651 |  | 15.6 | 143.72
[11 empty] | 0.1468 | 1.2065 |  | 15.7 | 1047.25
[11 empty] | 0.15729 | 1.2517 |  | 15.8 | 1503.79
[11 empty] | 0.16777 | 1.2847 |  | 15.9 | 71.81
[11 empty] | 0.18874 | 1.3036 |  | 16 | 32.05
[11 empty] | 0.20972 | 1.258 |  | 16.1 | 51.49
[11 empty] | 0.23069 | 1.1687 |  | 16.2 | 10.64
[11 empty] | 0.25166 | 1.0568 |  | 16.3 | 15.96
[11 empty] | 0.27263 | 0.97577 |  | 16.4 | 278.28
[11 empty] | 0.2936 | 0.96337 |  | 16.5 | 150.46
[11 empty] | 0.31457 | 0.9939 |  | 16.6 | 238.44
[11 empty] | 0.33554 | 1.0358 |  | 16.7 | 406.88
[11 empty] | 0.37749 | 1.0274 |  | 16.8 | 165.49
[11 empty] | 0.41943 | 0.88328 |  | 16.9 | 170.13
[11 empty] | 0.46137 | 0.83412 |  | 17 | 201.97
[11 empty] | 0.50332 | 0.85426 |  | 17.1 | 42.98
[11 empty] | 0.54526 | 0.8437 |  | 17.2 | 2154.34
[11 empty] | 0.5872 | 0.77906 |  | 17.3 | 716.22
[11 empty] | 0.62915 | 0.77501 |  | 17.4 | 212.73
[11 empty] | 0.67109 | 0.79052 |  | 17.5 | 480.26
[11 empty] | 0.75497 | 0.85926 |  | 17.6 | 548.83
[11 empty] | 0.83886 | 1.0008 |  | 17.7 | 117.39
[11 empty] | 0.92275 | 0.86051 |  | 17.8 | 295.69
[11 empty] | 1.0066 | 1.0179 |  | 17.9 | 925.84
[11 empty] | 1.0905 | 0.86286 |  | 18 | 748.25
[11 empty] | 1.1744 | 0.82325 |  | 18.1 | 848.43
[11 empty] | 1.2583 | 0.95864 |  | 18.2 | 752.85
[11 empty] | 1.3422 | 1.0244 |  | 18.3 | 464.93
[11 empty] | 1.5099 | 1.0551 |  | 18.4 | 1421.24
[11 empty] | 1.6777 | 1.215 |  | 18.5 | 297.68
[11 empty] | 1.8455 | 1.2172 |  | 18.6 | 2510.38
[11 empty] | 2.0133 | 0.88096 |  | 18.7 | 884.26
[11 empty] | 2.181 | 0.87903 |  | 18.8 | 145.47
[11 empty] | 2.3488 | 0.97151 |  | 18.9 | 196.07
[11 empty] | 2.5166 | 0.86546 |  | 19 | 180.76
[11 empty] | 2.6844 | 0.92064 |  | 19.1 | 60.9
[11 empty] | 3.0199 | 1.001 |  | 19.2 | 106.42
[11 empty] | 3.3554 | 1.1062 |  | 19.3 | 126.32
[11 empty] | 3.691 | 1.1238 |  | 19.4 | 178.26
[11 empty] | 4.0265 | 1.0085 |  | 19.5 | 151.11
[11 empty] | 4.3621 | 1.0741 |  | 19.6 | 318.08
[11 empty] | 4.6976 | 0.90388 |  | 19.7 | 312.54
[11 empty] | 5.0332 | 0.97343 |  | 19.8 | 513.93
[11 empty] | 5.3687 | 0.81536 |  | 19.9 | 55.57
[11 empty] | 6.0398 | 0.84135 |  | 20 | 305.7
[11 empty] | 6.7109 | 1.1398 |  | 20.1 | 299.34
[11 empty] | 7.382 | 1.0228 |  | 20.2 | 93.42
[11 empty] | 8.0531 | 0.67219 |  | 20.3 | 115.91
[14 empty] | 20.4 | 1045.05
[14 empty] | 20.5 | 749.25
[14 empty] | 20.6 | 154.78
[14 empty] | 20.7 | 71.95
[14 empty] | 20.8 | 560.79
[14 empty] | 20.9 | 537.7
[14 empty] | 21 | 611.36
[14 empty] | 21.1 | 952.7
[14 empty] | 21.2 | 279.3
[14 empty] | 21.3 | 53.13
[14 empty] | 21.4 | 110.47
[14 empty] | 21.5 | 41.91
[14 empty] | 21.6 | 100.68
[14 empty] | 21.7 | 59.72
[14 empty] | 21.8 | 251.87
[14 empty] | 21.9 | 202.01
[14 empty] | 22 | 243.26
[14 empty] | 22.1 | 263.62
[14 empty] | 22.2 | 25.55
[14 empty] | 22.3 | 61.15
[14 empty] | 22.4 | 359.77
[14 empty] | 22.5 | 716.94
[14 empty] | 22.6 | 767.28
[14 empty] | 22.7 | 898.57
[14 empty] | 22.8 | 633.17
[14 empty] | 22.9 | 295.13
[14 empty] | 23 | 80.95
[14 empty] | 23.1 | 70.53
[14 empty] | 23.2 | 85.34
[14 empty] | 23.3 | 52.66
[14 empty] | 23.4 | 1054.25
[14 empty] | 23.5 | 335.52
[14 empty] | 23.6 | 32.9
[14 empty] | 23.7 | 31.84
[14 empty] | 23.8 | 229.34
[14 empty] | 23.9 | 232.71
[14 empty] | 24 | 2445.82
[14 empty] | 24.1 | 677.95
[14 empty] | 24.2 | 81.98
[14 empty] | 24.3 | 29.27
[14 empty] | 24.4 | 57.16
[14 empty] | 24.5 | 169.07
[14 empty] | 24.6 | 80.89
[14 empty] | 24.7 | 74.34
[14 empty] | 24.8 | 1672.53
[14 empty] | 24.9 | 1314.19
[14 empty] | 25 | 1391.58
[14 empty] | 25.1 | 2658.76
[14 empty] | 25.2 | 556.4
[14 empty] | 25.3 | 603.86
[14 empty] | 25.4 | 91.05
[14 empty] | 25.5 | 98.68
[14 empty] | 25.6 | 51.38
[14 empty] | 25.7 | 17.23
[14 empty] | 25.8 | 155.87
[14 empty] | 25.9 | 354.12
[14 empty] | 26 | 72.84
[14 empty] | 26.1 | 3032.19
[14 empty] | 26.2 | 642.44
[14 empty] | 26.3 | 103.73
[14 empty] | 26.4 | 50.17
[14 empty] | 26.5 | 176.92
[14 empty] | 26.6 | 638.06
[14 empty] | 26.7 | 374.65
[14 empty] | 26.8 | 180.84
[14 empty] | 26.9 | 189.04
[14 empty] | 27 | 230.71
[14 empty] | 27.1 | 455.63
[14 empty] | 27.2 | 28.64
[14 empty] | 27.3 | 204.36
[14 empty] | 27.4 | 227.37
[14 empty] | 27.5 | 154.65
[14 empty] | 27.6 | 52.86
[14 empty] | 27.7 | 350.74
[14 empty] | 27.8 | 2106.18
[14 empty] | 27.9 | 135.23
[14 empty] | 28 | 294.92
[14 empty] | 28.1 | 882.61
[14 empty] | 28.2 | 672.77
[14 empty] | 28.3 | 63.83
[14 empty] | 28.4 | 58.4
[14 empty] | 28.5 | 129.45
[14 empty] | 28.6 | 256.05
[14 empty] | 28.7 | 175.47
[14 empty] | 28.8 | 267.4
[14 empty] | 28.9 | 51.38
[14 empty] | 29 | 45.09
[14 empty] | 29.1 | 144.58
[14 empty] | 29.2 | 168.22
[14 empty] | 29.3 | 1122.42
[14 empty] | 29.4 | 1131.19
[14 empty] | 29.5 | 1177.29
[14 empty] | 29.6 | 96.23
[14 empty] | 29.7 | 406.53